## SUMMARY
Artifact | Reviewed and standardized rule library
Total validated rules | 35
OWL/API Enforceable | 13
API Warning / Workflow Monitoring | 6
Process-Based / Not Directly Automatable | 16
Classification legend
OWL/API Enforceable | Rule can be represented semantically and checked against model state or parameters during authoring.
API Warning / Workflow Monitoring | Rule can be monitored through events, warnings, or workflow metadata, but is better handled as a prompt/reminder than OWL-based constraint
Process-Based / Not Directly Automatable | Rule depends on meetings, governance, document exchange, or external sources not directly available in the active BIM model.

## ARCH_RULES
Discipline | Clash Avoidance Rule | Rule Presentation Format | Automation Classification | Automation Rationale
Architectural | A project-specific priority order among the structural, MEP, and architectural disciplines shall be agreed at kickoff and recorded in the BIM management plan. | BIM Management Plan; Must be present in kickoff meeting agenda | Process-Based / Not Directly Automatable | Requires project governance and meeting decisions rather than model-state validation.
Architectural | A discipline-specific Level of Detail (LOD) matrix shall be clearly defined before modelling begins. | BIM Management Plan | Process-Based / Not Directly Automatable | Requires project planning and documentation, not authoring-time model checks.
Architectural | The site model shall remain pinned in place. | Tutorial Module of Clash Avoidance Assistant; Reminder | OWL/API Enforceable | Can be checked from linked model state (e.g., pinned/unpinned) during authoring.
Architectural | Axes and levels shall be pinned immediately after creation. | Tutorial Module of Clash Avoidance Assistant; Reminder | OWL/API Enforceable | Can be checked when grids/levels are created or modified by inspecting pinned status.
Architectural | MEP consultants shall define the required clearance between the ceiling and slab. | BIM Management Plan; BIM Coordination Meetings | Process-Based / Not Directly Automatable | Requires consultant input and agreement before model-based checking is possible.
Architectural | MEP consultants shall define the ceiling thickness required to accommodate maintenance access. | BIM Management Plan; BIM Coordination Meetings | Process-Based / Not Directly Automatable | Depends on external requirements that must first be agreed and documented.
Architectural | MEP-provided clearance and ceiling-thickness requirements shall be accessible to all model authors during modelling. | Tutorial Module of Clash Avoidance Assistant | Process-Based / Not Directly Automatable | Concerns information availability and team communication rather than model-state validation.
Architectural | The modeled clearance between the ceiling and slab shall match the MEP-specified requirement. | Error prompt if the dimension is less than recommended | OWL/API Enforceable | Can be checked if the required dimension is stored in parameters or configuration data.
Architectural | The modeled ceiling thickness shall match the MEP-specified requirement. | Error prompt if the dimension is less than recommended | OWL/API Enforceable | Can be checked from ceiling type/instance data against a required value.
Architectural | Interior walls shall not extend above the ceiling-defined limit. | Tutorial Module of Clash Avoidance Assistant; Error prompt if the dimension is less than recommended | OWL/API Enforceable | Can be evaluated from wall height, ceiling elevation, and required clearance parameters.
Architectural | Wall types used for coordinated modelling shall include defined material layers and layer thicknesses. | Reminder; Error prompt if basic wall is detected | OWL/API Enforceable | Can be checked from wall type composition and missing/undefined layer information.
Architectural | In workshared models, synchronization with the central model shall occur at least once per hour. | Tutorial Module of Clash Avoidance Assistant; Reminder | API Warning / Workflow Monitoring | Can be monitored from worksharing events and timestamps, but is best handled as a reminder rather than a hard constraint.
Architectural | Revit warnings, especially duplicate-element warnings, shall be reviewed and resolved during each modelling session. | Tutorial Module of Clash Avoidance Assistant; Reminder | API Warning / Workflow Monitoring | Warnings can be surfaced via the API, but 'resolve quickly' remains a workflow expectation.

## STRUC_RULES
Discipline | Clash Avoidance Rule | Rule Presentation Format | Automation Classification | Automation Rationale
Structural | The site model shall remain pinned in place. | Tutorial Module of Clash Avoidance Assistant; Reminder | OWL/API Enforceable | Can be checked from linked model state (e.g., pinned/unpinned) during authoring.
Structural | Axes and levels shall be pinned immediately after creation. | Tutorial Module of Clash Avoidance Assistant; Reminder | OWL/API Enforceable | Can be checked when grids/levels are created or modified by inspecting pinned status.
Structural | Structural modelling shall begin only after receipt of the first LOD 200 architectural model. | BIM Management Plan; BIM Coordination Meetings | Process-Based / Not Directly Automatable | Requires project sequencing and document/state approval outside the active model.
Structural | After receipt of the LOD 200 architectural model, the structural discipline shall consult the MEP discipline before finalizing coordinated elements. | BIM Management Plan; BIM Coordination Meetings | Process-Based / Not Directly Automatable | Represents a coordination workflow decision rather than a model-state rule.
Structural | Structural and MEP consultants shall define the required spaces for mechanical elements within shear walls and beams. | BIM Management Plan; BIM Coordination Meetings | Process-Based / Not Directly Automatable | Needs interdisciplinary agreement before it can be converted into checkable geometric rules.
Structural | Required duct and shaft opening dimensions shall be provided by the MEP consultant. | BIM Management Plan; BIM Coordination Meetings | Process-Based / Not Directly Automatable | Depends on external requirements being supplied before model checks can be performed.
Structural | Modeled duct and shaft openings shall match the MEP-specified dimensions. | Error prompt if the dimension is less than recommended | OWL/API Enforceable | Can be checked from opening geometry/parameters against required dimensions.
Structural | In workshared models, synchronization with the central model shall occur at least once per hour. | Tutorial Module of Clash Avoidance Assistant; Reminder | API Warning / Workflow Monitoring | Can be monitored from worksharing events and timestamps, but is best handled as a reminder rather than a hard constraint.
Structural | Revit warnings, especially duplicate-element warnings, shall be reviewed and resolved during each modelling session. | Tutorial Module of Clash Avoidance Assistant; Reminder | API Warning / Workflow Monitoring | Warnings can be surfaced via the API, but 'resolve quickly' remains a workflow expectation.

## MEP_RULES
Discipline | Clash Avoidance Rule | Rule Presentation Format | Automation Classification | Automation Rationale
MEP | The work hierarchy for the MEP BIM model shall be agreed at kickoff and documented for the project. | BIM Management Plan; BIM Coordination Meetings | Process-Based / Not Directly Automatable | Requires team agreement and project governance, not authoring-time validation.
MEP | The site model shall remain pinned in place. | Tutorial Module of Clash Avoidance Assistant; Reminder | OWL/API Enforceable | Can be checked from linked model state (e.g., pinned/unpinned) during authoring.
MEP | Axes and levels shall be pinned immediately after creation. | Tutorial Module of Clash Avoidance Assistant; Reminder | OWL/API Enforceable | Can be checked when grids/levels are created or modified by inspecting pinned status.
MEP | Insulation thickness for pipes and ducts shall be explicitly defined and modeled where required. | Tutorial Module of Clash Avoidance Assistant; Reminder | OWL/API Enforceable | Can be checked by detecting missing insulation or missing insulation-thickness values on insulated services.
MEP | Modeled insulation thickness shall match the specified requirement. | Error prompt if the dimension is less than recommended | OWL/API Enforceable | Can be checked from pipe/duct insulation parameters against the required value.
MEP | HVAC systems, sloped services, and fire protection systems should be modeled in a coordinated manner. | Tutorial Module of Clash Avoidance Assistant; Reminder | Process-Based / Not Directly Automatable | Too broad and process-oriented for a direct authoring-time rule without additional formalization.
MEP | Maintenance clearance requirements shall be communicated to all relevant team members. | BIM Management Plan; BIM Coordination Meetings; Tutorial Module of Clash Avoidance Assistant | Process-Based / Not Directly Automatable | Concerns communication and dissemination of requirements rather than direct model-state checking.
MEP | The first MEP model iteration shall be shared with the architectural and structural disciplines. | BIM Management Plan; BIM Coordination Meetings | Process-Based / Not Directly Automatable | Requires coordination workflow and document-sharing actions outside the active model.
MEP | The MEP discipline shall obtain the latest ceiling plans from the architectural discipline through the agreed publication workflow. | BIM Management Plan; BIM Coordination Meetings | Process-Based / Not Directly Automatable | Depends on external document exchange and version control, not direct model validation.
MEP | The MEP discipline shall verify that modeled ceiling fixtures match the latest approved fixture positions. | BIM Management Plan; BIM Coordination Meetings | Process-Based / Not Directly Automatable | Requires comparison against externally approved layouts unless additional linked data integration is implemented.
MEP | In workshared models, synchronization with the central model shall occur at least once per hour. | Tutorial Module of Clash Avoidance Assistant; Reminder | API Warning / Workflow Monitoring | Can be monitored from worksharing events and timestamps, but is best handled as a reminder rather than a hard constraint.
MEP | Revit warnings, especially duplicate-element warnings, shall be reviewed and resolved during each modelling session. | Tutorial Module of Clash Avoidance Assistant; Reminder | API Warning / Workflow Monitoring | Warnings can be surfaced via the API, but 'resolve quickly' remains a workflow expectation.
MEP | The MEP model shall be checked to confirm that all required electrical and fire protection components shown in the 2D design documents are present in the BIM model. | BIM Management Plan; BIM Coordination Meetings; Tutorial Module of Clash Avoidance Assistant | Process-Based / Not Directly Automatable | Requires external document-to-model comparison unless a separate structured source is integrated.